# Duke University Health System

# Clinical Laboratory Audit Checklist

Revised: August 2017

Laboratory Name:

Laboratory Manager or Supervisor:

Laboratory Safety Officer:

Laboratory Safety Officer Phone #:

Laboratory Safety Officer Email:

Lab Address:

Date Audit Completed:

Date of Manager/Supervisor Review:

Submit completed checklist to phyllis.parrott@duke.edu

| Safety Resources: Are the following readily available to all employees? |  |  |  |
| --- | --- | --- | --- |
| Duke Health Resources |  | Clinical Labs Resources |  |
| Duke Health Safety Resources - OSHA Standard on Occupational Exposure to Hazardous Chemicals in Laboratories https://www.osha.gov/pls/oshaweb/owadisp.show_document?p_table=standards&p_id=10106 - OSHA BBP Standard; 29 CFR 1910.1030 https://www.osha.gov/pls/oshaweb/owadisp.show_document?p_table=standards&p_id=10051 - University Safety Manual http://www.safety.duke.edu/ - Laboratory Safety Manual - BBP Exposure Control Plan - TB Exposure Control Plan - Hospital Emergency Management https://intranet.dh.duke.edu/hospitals/duh/SitePages/Emergency%20Resources.aspx | Yes No N/A Yes No N/A Yes No N/A Yes No N/A Yes No N/A Yes No N/A Yes No N/A | Clinical Laboratories Lab Safety Policies, Procedures, and Attachments in SoftTech https://duke.labqms.com/ | Yes No N/A |
| Duke Health Policies and Procedures: - Safe Medical Devices Act (SMDA) Reporting Procedure in Duke Health Policy Center - Latex Policy in Duke Health Policy Center - Chemical Waste Policy http://www.safety.duke.edu/sites/default/files/Q-Chemwastemgt.pdf - Noise Policy http://www.safety.duke.edu/sites/default/files/II_3Noise.pdf | Yes No N/A Yes No N/A Yes No N/A Yes No N/A | Chemical Hygiene Plan (reviewed and evaluated for effectiveness in the past year) Current Safety Data Sheets (SDS) | Yes No N/A Yes No N/A |
| Duke Infection Prevention Manual https://egrc.duhs.duke.edu/foundation/Workspace.aspx?workspaceId=-1&requestUrl | Yes No N/A |  |  |
| Duke Radiation Safety Manual | Yes No N/A |  |  |
| DRH Safety Procedures (DRH only) - BBP Exposure Control Plan - TB Exposure Control Plan - Chemical Waste Policy - Noise Policy - SMDA - Latex Policy - Hospital Emergency Management Plan - DRH Infection Control - DRH Radiation Safety | Yes No N/A Yes No N/A Yes No N/A Yes No N/A Yes No N/A Yes No N/A Yes No N/A Yes No N/A Yes No N/A | Unit Sub-Plan (Disaster Preparedness under HICS system) Note: in ‘Administrative Documents – Clinical’ folder in SoftTech Lab-specific Sub-Plan (Disaster Preparedness under HICS system) | Yes No N/A Yes No N/A |
| DRAH Safety Procedures (DRAH only) - BBP Exposure Control Plan - TB Exposure Control Plan - Chemical Waste Policy - Noise Policy - Medical Device Reporting (MDR) Policy - Latex Policy - Hospital Emergency Management Plan - DRAH Infection Control - DRAH Radiation Safety | Yes No N/A Yes No N/A Yes No N/A Yes No N/A Yes No N/A Yes No N/A Yes No N/A Yes No N/A Yes No N/A | Site-specific Fire Plan | Yes No N/A |

| Laboratory Housekeeping: |  |  |
| --- | --- | --- |
| Are passageways unobstructed? | Yes No N/A |  |
| Are floors, walls and ceilings clean and well maintained? | Yes No N/A |  |
| Are bench tops, drawers and sinks clean and well maintained? | Yes No N/A |  |
| Are storage areas well organized and free of clutter? | Yes No N/A |  |
| Is shelving stable and not overloaded? | Yes No N/A |  |
| General Safety Awareness: |  |  |
| Is there documented completion of the “New Employee On-Site Safety Training Checklist” for all new employees? |  | Yes No N/A |
| Have all employees completed/reviewed the “Laboratory Safety Evaluation Form” within the last year? This form is included in the “Annual Work Agreement” reading list in SoftTech. |  | Yes No N/A |
| Are all occupational incidents, injuries, or illnesses reported through the appropriate reporting system? |  | Yes No N/A |
| Are there procedures for follow-up and evaluation of lab accidents and occupational injury/illness to prevent recurrences? |  | Yes No N/A |
| Does the laboratory have a documented program to protect personnel from allergic reactions to job-related exposures to natural rubber latex in gloves and other products? |  | Yes No N/A |
| Are all employees aware of the EOHW Blood and Body Fluid Exposure Hotline? |  | Yes No N/A |
| Have all employees who work with human blood/products been offered the Hepatitis B vaccine? |  | Yes No N/A |
| Have all employees completed on-line safety training in the past year? |  | Yes No N/A |
| Are all employees aware that Reproductive Health Reviews are available through EOHW? |  | Yes No N/A |
| Has the lab performed an ergonomics assessment? Date? |  | Yes No N/A |
| Is the Emergency Response Guide posted in the lab? |  | Yes No N/A |

Notes: ________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

| Personal Protective Equipment: |  |
| --- | --- |
| Is appropriate personal protective equipment provided to all employees at no cost to them? | Yes No N/A |
| Is there documentation that all employees have been instructed on the proper use of PPE that is used for protection against hazardous materials (i.e. chemicals, radioactives, potentially infectious human specimens)? | Yes No N/A |
| Do personnel remove gloves and clean hands (i.e. perform handwashing) using an effective antimicrobial method after manipulating biological samples or after each patient contact? | Yes No N/A |
| Are all personnel who are required to wear a respirator compliant with Duke’s Respiratory Protection Program (i.e. medical clearance, fit-test, etc.)? http://www.safety.duke.edu/occupational-hygiene-safety/personal-protective-equipment/respiratory-protection | Yes No N/A |
| Are all personnel who voluntarily wear a respirator compliant with the Duke policy on Voluntary Use of Respiratory Protection? http://www.safety.duke.edu/sites/default/files/T-VoluntaryRespiratorUse.pdf | Yes No N/A |
| At a minimum, are lab coats and disposable gloves worn when handling any hazardous materials (e.g., blood and body fluids, hazardous chemicals, etc.)? | Yes No N/A |
| Do laboratory personnel use only non-latex or powder-free latex gloves? (Latex gloves may be used in selected settings, but should be free of cornstarch or talc) | Yes No N/A |
| Is face protection available or in place for performing tasks that are likely to cause splash or splatter? | Yes No N/A |
| Is reusable clothing (i.e. lab coats) used for work with blood and blood products being collected in the appropriate laundry bags? | Yes No N/A |
| Are appropriate thermal gloves worn for protection against extreme temperatures? | Yes No N/A |
| Is hearing protection needed for any procedure? | Yes No N/A |

Notes:

________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

| Biological Safety: |  |
| --- | --- |
| Are handwashing sinks available in all areas where work involving potentially infectious materials is performed? | Yes No N/A |
| Are all sharps disposed of in an approved puncture-resistant container? | Yes No N/A |
| Is recapping, breaking and bending of needles prohibited? | Yes No N/A |
| During transport, are all potentially infectious materials placed in a secondary leak-proof container? | Yes No N/A |
| Does the lab ship biological materials or ship materials on dry ice? Note: Answer “No” if your lab only uses Duke couriers for transport. Answer “Yes” if your lab uses any commercial carrier (e.g., USPS, FedEx, UPS, etc.) If Yes: Have the necessary personnel completed Shipping Biological Materials Training? | Yes No Yes No N/A |
| Are mechanical devices (i.e. forceps, hemostats, dust pans etc.) available and are they used by employees to pick up broken glassware? | Yes No N/A |
| Are surfaces on which work involving blood and blood products is performed, routinely wiped down with an approved disinfectant at the end of the procedure or immediately following a spill? | Yes No N/A |
| Are personnel aware of appropriate biological spill procedures? | Yes No N/A |
| Are all general use items (i.e. phones, keyboards etc.) which have been labeled as “dirty” handled only with gloved hands? | Yes No N/A |
| Is regulated medical waste collected in containers that are clearly labeled or color-coded as “biohazardous”? | Yes No N/A |
| Are all sterilizing devices (e.g. autoclaves) monitored periodically with biological indicators (or chemical equivalent) for effectiveness of sterility? | Yes No N/A |
| Have doorways that lead to areas where potentially infectious materials are manipulated been labeled with the universal biohazard symbol? | Yes No N/A |
| Are all refrigerators and freezers used to store potentially infectious materials labeled with the universal biohazard symbol? | Yes No N/A |
| Have all biological safety cabinets been certified in the past year? | Yes No N/A |
| Does the lab have a written tuberculosis exposure control plan? http://www.safety.duke.edu/biological-safety/tuberculosis-other-airborne-pathogens | Yes No N/A |
| Does the lab perform any hazardous procedures with the potential for exposure to tuberculosis or generation of aerosolized Mycobacterium tuberculosis? | Yes No N/A |
| Are eating, drinking, applying cosmetics and lip balm, and handling contact lenses prohibited in areas in which there is any risk of exposure to potentially infectious materials? | Yes No N/A |
| Is the storage of food and drink prohibited in refrigerators, and other appliances, used to store potentially infectious materials, reagents, or hazardous chemicals? (Note: Labels should be on refrigerators to indicate whether it is approved for food.) | Yes No N/A |

| Fire Safety: |  |
| --- | --- |
| Has each employee participated in at least one fire drill in the past year? | Yes No N/A |
| Are employees familiar with the location of fire extinguishers and pull alarms? | Yes No N/A |
| Are all fire alarms visible, unobstructed, and accessible? | Yes No N/A |
| Is the fire alarm audible from all parts of the lab? (or recognizable to all hearing impaired personnel) | Yes No N/A |
| Are aisles kept clear and unobstructed at all times? | Yes No N/A |
| Are open flames or Bunsen burners used in the lab? | Yes No N/A |
| Are supplies of flammables and combustible liquids reasonable for the lab’s needs? | Yes No N/A |
| Are there fire extinguishers available in areas where flammable and combustible materials are handled and stored? | Yes No N/A |
| If the lab is larger than 1000 sq ft, are there at least two exit doors, one of which opens into a means of egress? | Yes No N/A |
| Are large “bulk” containers, from which flammable or combustible solvents are decanted, grounded appropriately? | Yes No N/A |
| Have personnel been instructed in the use of portable fire extinguishers and has the training been documented? | Yes No N/A |
| Are all flammable chemicals including compressed gases stored away from all sources of heat or sparks? | Yes No N/A |
| Is there always less than 10 gallons of flammable liquids outside of an approved flammable storage cabinet? | Yes No N/A |
| Is an appropriate ceiling clearance maintained throughout the laboratory: 24 inches in non-sprinklered area; 18 inches below the sprinkler heads across the entire ceiling in sprinklered areas? | Yes No N/A |
| Have all laboratory refrigerators and freezers been labeled as either “approved” or “not approved” for flammable storage? | Yes No N/A |
| Does the lab avoid storing flammables in a “not approved” appliance? | Yes No N/A |
| Is emergency lighting adequate for safe evacuation of the lab? | Yes No N/A |
| Is there a written evacuation plan available that outlines the appropriate employee evacuation routes? | Yes No N/A |
| Do all workers know where the outside assembly point is located? | Yes No N/A |
| Is emergency power adequate for the functioning of the lab? (preservation of samples & reagents, function of hoods, etc.) | Yes No N/A |
| Does the lab avoid placing electrical devices near water sources? | Yes No N/A |
| Does all laboratory clinical equipment/instruments have Clinical Engineering stickers? | Yes No N/A |
| Is all wiring in the lab in good condition (e.g. no damaged cords, etc.)? | Yes No N/A |
| Does the lab avoid overloading outlets and using extension cords as substitutes for permanent wiring? | Yes No N/A |

Notes:

________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

| Chemical Safety: |  |  |
| --- | --- | --- |
| Are precautionary labels present on the containers of all hazardous chemicals that include the chemical name, type of hazard, and what to do if accidental contact occurs? | Yes No N/A |  |
| Has annual review and evaluation of the effectiveness of the lab’s Chemical Hygiene Plan been done? | Yes No N/A |  |
| Are potentially reactive chemicals stored separately? | Yes No N/A |  |
| Are all incompatible chemicals appropriately separated during storage to reduce the risk of potential reactivity? - Are acids and bases stored separately near floor level? - Are oxidizers separated from organics? - Are water-reactives separated from water sources? | Yes No N/A |  |
| If formalin is handled in your lab, has formalin monitoring been done in the past? Date? | Yes No N/A |  |
| Was formalin monitoring required and performed in the last year (as the result of a new or change in process or procedure)? Date? | Yes No N/A |  |
| Have the lab’s chemical fume hood(s) been certified in the past year? Date? | Yes No N/A |  |
| Are chemical fume hood work surfaces free of clutter? | Yes No N/A |  |
| Are chemical storage cabinets well-maintained and free of rust? | Yes No N/A |  |
| Are appropriate supplies (e.g., spill kits) and instructions for use available in areas where potential spill of chemical hazards exist? | Yes No N/A |  |
| Do spill kits have either expiration dates or periodic assessment the spill kits are usable? Expiration Date? Or Date of last assessment? | Yes No N/A |  |
| Are employees aware of how to report major chemical spills appropriately? | Yes No N/A |  |
| Are all compressed gas tanks secured in an upright position away from any open flames or other sources of heat? | Yes No N/A |  |
| Is there no more than one extra cylinder of compressed, flammable gas at any one work station? | Yes No N/A |  |
| Is there a plumbed eyewash in every area where hazardous chemicals which may cause skin or eye damage are used (e.g. chemicals that are irritating, corrosive, toxic by contact or absorption)? | Yes No N/A |  |
| Are eyewashes tested and documented on a weekly basis? | Yes No N/A |  |
| Is there appropriate signage indicating the location of the eyewash? | Yes No N/A |  |
| When decanting or entering an open container of liquid nitrogen, are appropriate gloves and a face shield worn? | Yes No N/A |  |
| Is the storage and use of liquid nitrogen confined to a well-ventilated area? | Yes No N/A |  |
| Are secondary containers (i.e. plastic bottle carriers) available for transporting glass containers (larger than 500 ml) that contain hazardous chemicals? | Yes No N/A |  |
| Is eating and drinking prohibited in areas in which hazardous chemicals are used? | Yes No N/A |  |
| Is the lab registered with OESO as a chemical waste generator? | Yes No N/A |  |
| - If Yes: Are the waste containers kept in the room where the waste is generated while awaiting pickup for disposal? | Yes No N/A |  |
| - If No: Are waste chemicals presently being stored in the laboratory? | Yes No N/A |  |
| Is the lab aware of and compliant with the Guidelines for Sink Disposal of Chemical Substances? http://www.safety.duke.edu/sites/default/files/drain_disposal_practice.pdf | Yes No N/A |  |
| Are chemical waste containers properly labeled (labeled “Waste Name of Chemical” and date waste is first placed in that container)? | Yes No N/A |  |
| Are proper waste container management practices utilized during storage? (capped, in secondary containment, proper container, not overfilled, no visible contamination on outer container, not stored >90 days after start date) | Yes No N/A |  |
| Is the lab using only designated waste containers for storage of waste? Note: The lab must not reuse reagent containers for storage of waste. | Yes No N/A |  |
| Are unknown chemicals labeled as “Waste Unknown” and dated, and disposed of within 30 days? | Yes No N/A |  |
| Has the lab reviewed chemicals stored in the lab within the last year to sort out obsolete chemicals that need to be discarded? | Yes No N/A |  |
| Is Universal Waste (used rechargeable batteries, fluorescent bulbs, or mercury thermometers) stored in the laboratory? If yes, are the containers labeled and dated? If yes, is the lab aware these waste items cannot be stored in the lab longer than one year? http://www.safety.duke.edu/environmental-programs/hazardous-waste/universal-waste | Yes No N/A Yes No N/A Yes No N/A |  |
| Is the lab using autoclave tape that contains lead? Note: If yes, it must be collected and disposed of as a regulated chemical waste. http://www.safety.duke.edu/sites/default/files/LeadTape.pdf | Yes No N/A |  |
| Radiation Safety: |  |  |
| Are any radioactive substances handled in the lab? | Yes No N/A |  |
| If yes, are all employees aware of safe policies for handling tissues containing radioactive materials? | Yes No N/A |  |

Notes:

(Additional sheets may be added if necessary.)

________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________