Standard Operating Procedure Requirements for

BSL2/ABSL2/ABSL1 Containment

Justification

Template revised 2022

The Principal Investigator (PI) has the responsibility to inform the laboratory and other research personnel of the appropriate research procedures.  When using hazardous or regulated biological agents the PI must prepare a written Standard Operating Procedure (SOP) outlining the necessary precautions to safely conduct research.  An SOP is a set of specific guidelines designed to address the methods that will be used and the safe handling of biological agents. The SOP must be available where the work is conducted.

The SOP is a valuable tool and worth the preparation time. A well-written SOP can be used to satisfy several compliance requirements.  An SOP should be written for all procedures that pose an identified potential risk to the health and safety of the laboratory personnel. Although a separate SOP does not need to be written for each individual experiment, procedures with the same hazards can be combined into one SOP.

The process of writing SOP(s) requires an individual to think through all steps of a procedure and perform a risk assessment before work has begun. The best approach to writing an SOP is to do it, write it and test it.  Be brief and succinct; the shorter the better.

An SOP template is provided below. Please use the prompts and notes in the comments in the right margin for guidance.

ABSL2 and BSL2 requirements also include appropriate biohazard labeling.  An example of appropriate signage for a door is attached at the end of the template for your use.  Remember, other signs may also be appropriate, as long as they include the necessary information (Biohazard Symbol, Biocontainment Level, Name of agent(s) and any necessary requirements to take prior to entering or exiting the lab, and PI and lab contact information).

An acknowledgement signature page is included. Once the SOP is finalized as a pdf by OESO and sent back to you, review the SOP with staff and have each person sign the page.

If you are not working with agents in animal models, simply delete that portion of the template. The preparer may also delete this justification after reading it and upon completion of the SOP.

Standard Operating Procedure for Safe Handling of

(   ) at BSL2/ABSL2/ABSL1 [  ] Containment

Title of Procedure:

Introduction and Purpose of Work:

| PI: | Lab Location: Animal Housing Location (must be approved by DLAR): |
| --- | --- |
| Issue Date: | Revision Date (within 3 years): |
| Prepared by: | OESO (Safety Office) Approval Signature: |

Applicable Regulatory Statutes / Guidelines:

RISK ASSESSMENT:

Hazard Identification and Risk of Exposure to the Hazards

Routes of Transmission:

MEDICAL CONSIDERATIONS:

Medical Screening and Surveillance:

Accidental exposures, such as splash to the face or a sharps injury shall be reported immediately to Employee Occupational Health and Wellness (EOHW) by dialing 115 from a Duke landline phone or 919-684-8115.  The operator will connect you with an EOHW representative that will help categorize the risk of developing occupationally-acquired infection and provide advice on an appropriate post-exposure treatment.

All health information, including immune status, is protected by The Health Insurance Portability and Accountability Act of 1996 (HIPAA). The discussions are confidential between the personnel and EOHW. The PI is not included in the discussion.

PRECAUTIONS:

READ: All laboratory work shall fully comply with biosafety level 2 (BSL2) containment described in the current edition of the guideline: CDC/NIH’s Biosafety in the Microbiological and Biomedical Laboratories: https://www.cdc.gov/labs/BMBL.html

PROCEDURAL METHODS and MATERIALS:

Door Signage & Equipment Labeling:

  - Posting of signs is research staff’s responsibility!

  - Signs will be posted to equipment and at room entry at all times when hazardous material is present.

  - Signs will be removed by research staff when hazardous material is no longer present.

Access to laboratory and equipment:

Personal Protective Equipment (PPE):

Methods to minimize personal exposure:

Methods to prevent the release of infectious agents/protect workers from aerosols, splashes, splatters:

Specimen transport and removal of material(s) from the laboratory:

Standard microbiological methods required:

Cleaning & Disinfection:

Waste Treatment and Disposal Methods:

Liquid culture waste is treated with 1:10 germicidal bleach for 30 minutes before being carefully poured down the drain (while wearing full face protection), followed by a copious amount of water to prevent corrosion.

Solid disposal items are placed in an autoclavable bag that is loosely closed to allow for steam penetration. The bag is then placed in a secondary autoclavable tray/open bin (to prevent or contain leaks) and autoclaved for 90 minutes at 121 degrees Celsius, 15 p.s.i. before being transported in leak-proof containment to the building dumpster for disposal.

Sharps such as needle with syringe, blades, and Pasteur pipettes (these are discouraged) are placed within a conveniently located puncture resistant, autoclavable (vented) biohazard sharps container, closed when 2/3 filled or sooner, placed in an autoclavable biohazard bag and autoclaved for 90 minutes at 121C 15 psi before disposal in the building dumpster.

Spill and Accident Response Procedure:

Personnel Exposure to Biohazards

- Report exposure by calling the 24 hour Employee Health Exposure Hotline (115 from a campus phone/684-8115 from a non-campus phone)

- Complete the Report of Occupational Injury or Illness form found at https://hr.duke.edu/wellness/workers-compensation

TRAINING:

Training Requirements: Workers conducting research under this procedure must comply with the following training requirements:

- Complete online Laboratory Safety-General training provided by Duke’s Occupational & Environmental Safety Office.  This training is required annually and is documented by OESO.

- Complete the online Biosafety Level 2 and BBP Training for Lab Workers.

- All personnel shall read and fully adhere to this SOP.

- P.I. will keep documentation of personnel reading and understanding this lab-specific SOP using a signature page (example attached).

For animal use only

Delete this section if not applicable

PRECAUTIONS:

READ: All animal work shall fully comply with the appropriate animal biosafety level containment described in the current edition of the CDC/NIH’s Biosafety in the Microbiological and Biomedical Laboratories: https://www.cdc.gov/labs/BMBL.html

NOTE: While handling biological materials that require the use of Biosafety Level 2 practices in the laboratory and when inoculating animals, animals may be approved for housing at ABSL1 after inoculations. This is dependent upon the agent (e.g., human cells, adeno-associated viral vectors).

DLAR does not require cage cards and door signs for ABSL1.

Required Procedures for Work in ABSL2 Animal Facilities:

The researcher is responsible for:

1. Communicating the start date of the study and conveying the OESO Biological Safety-approved SOP (this SOP) for the animal work to the *DLAR Senior Operations Manager, as well as the *Operations Manager of the animal facility where the hazardous agent work will.

*Contact information can be found on the DLAR website linked on the left side of the page on the Duke Animal Care and Use Program website: (https://sites.duke.edu/oawa/). You must then log in to the DLAR website to see Contacts/Husbandry and Facilities Staff.

-	This communication must occur at least five (5) days prior to initiation of the work.

- Initiating the work only after obtaining confirmation that your notification has been received.

- Placing the proper signs on the animal room door and cages prior to the initiation of the study.

- Removing the signs when the study is complete.

- Cage Cards and Door Signs: As soon as the animals have been dosed with the biohazardous agent, cages must be marked with the biohazard cards and the attached sign must be posted on the outside of the animal room door by research staff.  This sign will be removed by research staff once the infected animals and biohazardous agents are no longer in the animal room.

Researchers Procedures in the Animal Facility:

Animal Cage-Change Procedures:

NOTE: at ABSL2, cage changes will be confined to a biological safety cabinet and unless otherwise instructed by the researcher, DLAR staff will change cages.  In addition, the researchers will train DLAR staff regarding any agent specific hazards and any additional special precautions needed.

Standard DLAR-provided ABSL2 cage change procedures:

- Cages will be changed by DLAR staff no sooner than 48 hours after the animals are exposed to the biohazardous agent.

b.	Cages (with bedding) will be double bagged in two orange autoclave bags and taped shut.

- The bags are then sprayed down with *Rescue Ready to Use/PEROXIGUARD (Hydrogen Peroxide – 0.5%)

- DLAR staff will transport bagged cages to autoclave.

- Only after cages have been autoclaved will they be dumped (by DLAR staff) as normal waste.

*Rescue Disinfectant (Virox Technologies, Inc.)/Peroxiguard is effective against numerous microorganisms affecting animals: Viruses, Gram Positive and Gram Negative Bacteria, Fungi, and Mycoplasma. Confirm that this disinfectant is effective against your biological agent. If it is not, you will need to describe the “Exceptions to Standard DLAR ABSL2 cage change procedures” below.

Exceptions to Standard DLAR ABSL2 cage change procedures:

For Lab use

AUTHORIZED PERSONNEL ONLY!

BIOSAFETY LEVEL

Principal Investigator:

Biological Agent(s):

Bldg:      	Room:

| Special Instructions/ Requirements Prior to Entry, Working, or Exit (i.e. personal protective equipment, vaccination): REMOVE PPE AND WASH HANDS BEFORE LEAVING THE WORK AREA. |
| --- |
| EMERGENCY CONTACT/ADVICE | CONTACT | WORK PHONE | After hours PHONE |
| PRIMARY |  |  |  |
| SECONDARY |  |  |  |
| Departmental Contact (if necessary) |  |  |  |

For animal use

AUTHORIZED PERSONNEL ONLY!

ANIMAL BIOSAFETY LEVEL

Principal Investigator:

Biological Agent(s):

Bldg:      	Room:       (must be DLAR-approved for ABSL2)

| Special Instructions/ Requirements Prior to Entry, Working, or Exit (i.e. personal protective equipment, vaccination): REMOVE PPE AND WASH HANDS BEFORE LEAVING THE WORK AREA. |
| --- |
| EMERGENCY CONTACT/ADVICE | CONTACT | WORK PHONE | After hours PHONE |
| PRIMARY |  |  |  |
| SECONDARY |  |  |  |
| Departmental Contact (if necessary) |  |  |  |

Signature Page:

Standard Operating Procedure for Handling

[List biological agents/organism(s)] at BSL2/ABSL2/ABSL1 [select appropriate environment(s)] Containment

“I have read and understand this SOP. I agree to fully adhere to its requirements.”

| Last Name | First Name | Duke Unique ID | Signature |
| --- | --- | --- | --- |

# Comments

EDIT and complete as necessary to address Biosafety Risks within your laboratory and/or animal housing area.

List organisms and/or animals

Select appropriate environment(s). BSL for lab work. ABSL for animal housing. Animals injected with cells and/or AAV vectors only are housed at ABSL1 after using BSL2 practices for inoculations.

One safety SOP can be used for more than one experimental protocol if the material, equipment being used, and potential hazards are the same.

Provide a brief description of work.

If work will include animals, please submit the SOP to DLAR only after it has been approved and signed by OESO.

Examples. List only those that are appropriate.

- OSHA Bloodborne Pathogens Standard: (http://www.osha.gov/pls/oshaweb/owadisp.show_document?p_table=STANDARDS&p_id=10051),

- CDC/NIH’s - Biosafety in the Microbiological and Biomedical Laboratories (BMBL): ( https://www.cdc.gov/labs/BMBL.html)

- NIH rDNA Guidelines:  https://osp.od.nih.gov/biotechnology/nih-guidelines/

- Export (or Import) Control (https://export.duke.edu/)

- Select Agent Rules (http://www.cdc.gov/od/sap/),

List and describe each organism. Describe the risk of each organism being handled in the laboratory.  If applicable, describe the signs and symptoms of illness and/or disease. Determine if immunization is needed. Contact OESO-Biological Safety Division (919-684-8822) if you need guidance.

Examples: Sharps exposures, Splash exposures, Non-intact skin exposures, other exposures such as food, drink, inanimate objects). Describe the sharps and fragile glass items that will be used (i.e. capillary tubes, needles, glass pipettes, Pasteur pipettes).

1. What are the exposure routes/risks of most concern?

2. If applicable, are there any off target effects (insertional mutagenesis, etc.) from exposure to the biohazardous and/or recombinant material?

3. What are the consequences of exposure (risk of infection?) to the biohazardous and/or recombinant material?

For example, all personnel that actively handle human cell cultures or human specimens in the lab must complete the following through Employee Occupational Health and Wellness (EOHW) (919-684-3136), Duke Clinic in the sub-basement of the Orange Zone (Room 0320) or equivalent if off-site:

- EOHW health screening for laboratory worker

- Must be offered the hepatitis B vaccination

  - University and Medical Center personnel will need an ‘Interdepartmental Request & Invoice Form’(IRI)  for payment. Contact your Department’s Business Manager.

  - If you have prior vaccination records, contact EOHW to check if they meet the requirements. Documentation may be scanned and emailed to: eleanor.hardy@duke.edu

Personnel may also be offered vaccines or special counseling depending on the organism(s) handled in the lab and availability of vaccines or prophylaxis. Address those requirements here (limitations to immunocompromised workers, etc.)

Incorporate each category as it pertains to your work.

For example:

Doorway (Complete the attached sign(s) when applicable), refrigerators, incubators, cage signs)

Describe entry restrictions, locks, and how freezers/refrigerators not in the immediate laboratory are kept secured/locked.

Describe entry and exit procedures to include donning and doffing (removing) PPE before leaving the work area; List/describe the PPE (e.g., reusable lab coat, disposable lab coat, gloves/ double gloves, safety glasses, face shield, mask, N95 respirator, PAPR, shoe covers, sleeve covers, hair cover) worn in lab and animal areas, describe how/where reusable lab coats are laundered and if applicable, how contaminated lab coats are decontaminated in the lab or discarded.

Describe work practices and safer alternatives that will be used, explain the use of conveniently located sharps waste containers and absorbent material on countertops to contain spills, leaks.

(For example, sterile plastic aspirating pipets will be used instead of fragile Pasteur pipets.)

Describe equipment/engineering controls such as the use of Class II Biological Safety Cabinets (BSC) for open containers of infectious agents, using covered centrifuge cups/buckets with lids that have o-rings and are opened only in the BSC. Where applicable, Describe how o-rings are inspected and maintained/lubricated on a defined schedule as described by the centrifuge user manual or your periodic review date.

Describe the leak proof transport container(s) and other materials that you may use. (For example, tubes placed within a tube rack. The tube rack is placed within a cooler with tight-fitting lid that contains absorbent material. The cooler is labeled with a biohazard symbol. The outside of the cooler is clean or disinfected so that PPE (gloves) are not needed for transport.) All transport containers must be labeled with a biohazard symbol.

Describe (For example, handwashing after removal of gloves and before leaving the work area, no mouth pipetting, no food or drink in refrigerators where material is stored, no eating or drinking in work area)

Describe surface decontamination, cleaning procedures and type of disinfectant(s) used (For example, 1:10 germicidal bleach (stock is at least 5.25% sodium hypochlorite. Working solution is at least 0.525% sodium hypochlorite).Greater concentrations may be used. Rinsing may be required to prevent corrosion.

The examples given are the basic requirements at Duke. Discuss with OESO-Biological Safety Division if you have different methods of waste treatment and disposal. If your waste is picked up for offsite treatment, describe the process here. See Medical Waste Management Policy for Research Labs.

Identify the types of biological waste generated (liquid waste, dry/solid waste, sharps waste, animal carcasses) and Identify procedures for handling/disposing of biological waste and use of sharps containers. Recommended methods are provide in text.

Describe all emergency procedures including spill clean-up. Describe disinfectant (dilutions/contact times) and environmental decontamination procedures.

For Example, Outside of a BSC:

If spill is a respiratory hazard, (this risk should be described under RISK ASSESSMENT) mark the area as SPILL, DO NOT ENTER and evacuate 30 minutes to allow aerosols to settle. After 30 minutes, proceed with the following:

Place absorbent towels over the spill, apply freshly prepared 1:10 germicidal bleach* solution (stock is at least 5.25% sodium hypochlorite. Working solution is at least 0.525% sodium hypochlorite. Greater concentrations may be used. Rinsing may be required to prevent corrosion.) to entire area of spill starting on the outer edges and working inward, contact time: 20 minutes, pick up sharp items with mechanical device (not hands), place disposable sharp items in sharps waste container and non-sharps  clean-up materials in a leak-resistant disposable bag. Repeat the process to ensure complete decontamination of organic material. *Large amounts of household bleach should not be autoclaved.

Delete instructions when complete.

Delete this Work in ABSL2 Animal Facilities section if animals are housed at ABSL1. For example, after inoculation with AAV vectors or human cells.

Describe procedures (route of dosing/immunization) done within any facility (your lab or the animal facility) and describe engineering controls used such as a biological safety cabinet, if applicable.

For example:

What is the restraint used? Mechanical device? Anesthesia used? If anesthesia is not used, provide justification. Is work confined to a biological safety cabinet (BSC)? Are sharps containers within the BSC? How are staff trained proficiently in animal inoculations and how is this documented by the PI?

Describe your practices for injections/inoculations, if applicable:

- The PI will provide training on injection procedures prior to using infectious substances. The PI will document proficiency in injection procedures. Describe how and timeline.

- Use a restraint or anesthesia for the initial injection. Describe the types of restraint or anesthesia used and how animals are handled during the procedure.

- Describe the types of sharps used and techniques that keep fingers far from needle or other sharps when preforming injections.

- Sharps containers immediately available (describe if containers are located in BSC/at the work surfaces).

- Needles are never recapped, but place directly into the sharps container.

- If needles must be reused for multiple animals, describe the reason for this and establish a safe storage mechanism between injections (e.g., needle and syringe in a secured centrifuge tube contained in a tube rack).

Delete if animals are housed at ABSL1.

Delete if animals are housed at ABSL1.

Delete if not applicable. Describe necessary changes to the standard DLAR ABSL2 cage changing procedures

  - EXAMPLE:  Research staff will be responsible for performing all cage changing procedures described above.

  - EXAMPLE:  Household Bleach is the only disinfectant recommended when working with this agent.

This is an example of appropriate signage TEMPLATE for a BSL2 laboratory doorway: PLEASE COMPLETE and POST IT!

Contacts listed must be available to answer questions related to this work.

This is an example of appropriate signage TEMPLATE for an ABSL2 animal housing location doorway: PLEASE COMPLETE and POST IT!

Contacts listed must be available to answer questions related to this work.

# Text boxes

2

2