| Date of Survey | Confined Space # |  |  |  | Permit Required? | Yes  No  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Location of Space (include Building # of closest building) |  |  |  |  |  |  |  |  |  |  |
| Description of Space, including dimensions |  |  |  |  |  |  |  |  |  |  |
| Confined Space if 1 – 3 below are ALL “Yes” |  |  |  | Permit Required Confined Space if ANY below are “Yes” |  |  |  |  |  |  |
| - Can be bodily entered? |  | Yes  | No  | Potential hazardous atmosphere? (See A) |  |  |  | Yes  |  | No  |
| - Limited or restricted entry? |  | Yes  | No  | Potential for engulfment? (See B) |  |  |  | Yes  |  | No  |
| - Not designed for continuous human occupancy? |  | Yes  | No  | Internal configuration hazards? (See C) |  |  |  | Yes  |  | No  |
|  |  |  |  | Other serious safety hazard? (See D-G) |  |  |  | Yes  |  | No  |
| - Possible Atmospheric Hazards: O2 deficiency O2 enrichment Flammable Toxic  Specific hazard for flammable and/or toxic: Comments: |  |  |  |  |  |  |  |  |  |  |
| - Possible Content/Engulfment Hazards: Previous contents Content fill or removal Shifting contents Dust  |  |  |  |  |  |  |  |  |  |  |
| - Configuration of Space: Interior shape & slope Low overhead clearance Drop offs  Complex layout Stability Structural integrity  Comments: |  |  |  |  |  |  |  |  |  |  |
| - Potential Energy: Electrical Hydraulic Pneumatic Mechanical Fire control system Steam  |  |  |  |  |  |  |  |  |  |  |
| - Environment in the Space Slippery Surface Ambient temperature high or low Surface temperatures high or low Noise  Comments: |  |  |  |  |  |  |  |  |  |  |
| - Other Hazards: Animals Insects Biological organisms Non-ionizing radiation Ionizing radiation  Comments: |  |  |  |  |  |  |  |  |  |  |
| - External Hazards that could impact safety in space: Traffic Machinery Equipment Processes Terrain  Comments: |  |  |  |  |  |  |  |  |  |  |
| If hazard evaluation determines this to be a PRCS, is space posted with signs or secured/locked indicating PRCS? |  |  |  |  |  |  |  |  |  |  |
| Reasons for entering space & typical activities |  |  |  |  |  |  |  |  |  |  |
| Who usually enters space? Maintenance Production Contractors Other  |  |  |  |  |  |  |  |  |  |  |
| Frequency of entry |  |  |  | Number of entry points # |  |  |  |  |  |  |
| External connections to space |  |  |  |  |  |  |  |  |  |  |
| Eligible for Alternate Procedure? (if Hazardous Atmosphere is ONLY hazard) |  | Yes  | No  | Eligible for Reclassification (If NO hazardous atmosphere and ALL hazards can be eliminated before entry) |  |  | Yes  |  | No  |  |
| Comments: |  |  |  |  |  |  |  |  |  |  |
| Survey completed by |  |  |  |  |  |  |  |  |  |  |