Standard Operating Procedure

for work with

| Chemical name/class: |  |  | Asphyxiants | CAS #: | various |  |
| --- | --- | --- | --- | --- | --- | --- |
| PI: | All Duke PIs |  |  | Date: |  |  |
| Building: |  | All Duke Buildings |  | Room #: |  |  |

- Circumstances of Use:

Various

- Potential Hazards:

An asphyxiant is a gas or vapor that can cause unconsciousness or death by suffocation (asphyxiation). Asphyxiants with no other health effects may be referred to as simple asphyxiants. Chemical asphyxiants, which interfere with the transportation or absorption of oxygen in the body, include hydrogen cyanide and carbon monoxide – these should be treated as toxic gases (meaning that a lab-specific SOP is required). Examples include nitrogen, argon, helium, methane, propane, carbon dioxide. Note that carbon dioxide interferes with the body’s regulation of breathing and is hazardous at lower concentrations than simple asphyxiants. Check the PHS list and Safety Data Sheet (SDS) to determine if the gas may cause suffocation/asphyxiation, and for additional hazard information (such as flammability). Many asphyxiants will be supplied in compressed gas cylinders; others will be supplied as cryogens. The SOPs for those hazards must also be followed.

- Engineering Controls:

Store and use in well-ventilated areas. Closets and small rooms should be avoided to prevent displacement of oxygen. If you are using large quantities, especially if the chemical you are using has no warning properties (such as odor), contact OESO at 919-684-8822 to determine if ventilation is sufficient.

- Work Practice Controls:

If you are working with an asphyxiant that is supplied as a cryogenic liquid or solid, also see the SOP for cryogens. If you are working with an asphyxiant that is supplied as a compressed gas, also see the SOP for compressed gases.

- Personal protective equipment (PPE):

Engineering controls (including general room ventilation) will provide the primary means of minimizing employee exposure to asphyxiants, but in some cases emergency respirators may be advised. Contact OESO Occupational Hygiene and Safety at 919-684-5996 for advice on respiratory protection. As with all lab work, wear a fully buttoned lab coat, safety glasses, standard nitrile laboratory gloves, clothing covering the legs, and closed-toed shoes.

- Transportation and Storage:

Store and use in well-ventilated areas. Closets and small rooms should be avoided to prevent displacement of oxygen. If you are working with an asphyxiant that is supplied as a cryogenic liquid or solid, also see the SOP for cryogens. If you are working with an asphyxiant that is supplied as a compressed gas, also see the SOP for compressed gases.

- Waste Disposal:

For simple asphyxiants in gas or vapor form, there will be not waste to dispose of. If the asphyxiant is supplied in a compressed gas cylinder, any unused gas will be returned to the vendor from which the cylinder was purchased, along with the cylinder. If the vendor cannot be determined, contact OESO Environmental Programs at 919-684-2794 for information on disposal.

- Exposures/Unintended contact:

Contact Employee Occupational Health and Wellness (EOHW) at 919-684-3136 for medical advice on occupational chemical exposures. For an actual chemical exposure - Remove all persons from the contaminated area. (It may be necessary to go outside). - Call 911 from a campus phone or 919-684-2444 from any phone to request assistance if needed. Contact Employee Occupational Health and Wellness at 919-684-8115 for exposure-related advice. The work-related injury or illness report found at: http://www.hr.duke.edu/benefits/medical/workcomp/report.php should be completed within 24 hours. Follow-up medical attention should be sought through Duke Employee Occupational Health and Wellness (919-684-3136).

- Emergency/Release Procedure:

On the Durham campus, any uncontained release of an asphyxiant gas that could lead to oxygen depletion must be referred to the OESO spill response team by calling 911 from a campus phone or 919-684-2444 from any phone. Examples include a spill or leak of a liquid cryogen, or an uncontrolled leak or release of an asphyxiant gas from a compressed gas cylinder

- Training of personnel:

All personnel are required to complete the online General Lab Safety session thru the OESO website. This session includes an introduction to general chemical safety. Furthermore, all personnel shall read and fully adhere to this SOP when working with asphyxiants.

“I have read and understand this SOP. I agree to fully adhere to its requirements.”

| Last | First | Duke ID | Signature | Date |
| --- | --- | --- | --- | --- |