Standard Operating Procedure

for work with

| Chemical name/class: |  |  | Pressure and/or vacuum |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| PI: | All Duke PIs |  |  | Date: |  |  |
| Building: |  | All Duke Buildings |  | Room #: |  |  |

- Circumstances of Use:

Various

- Potential Hazards:

Explosion or implosion may occur when working with containers that are pressurized or placed under vacuum.

- Engineering Controls:

Make sure the container you are using will withstand the pressure/vacuum and set up the operation to minimize the hazards of a container failure. - For vacuum filtering applications, use a heavy walled filtering flask conforming to ASTM E1406. Coated glass flasks or Nalgene flasks will be less likely to produce flying sharps than plain glass filtering flasks. - Work in a chemical fume hood if appropriate. - For work with compressed gas cylinders, see the SOP for compressed gases. - Pressurized apparatus shall have an appropriate pressure relief device.

- Work Practice Controls:

In planning the research steps for work in a closed system, consider the effects of heat (including exothermic reactions) and cooling and ensure that the laboratory apparatus is designed to withstand the pressure or vacuum that may be created. If an explosion (or implosion) could be caused by excess (or significantly decreased) pressure in a reaction vessel, lab-specific written procedures must be included in this SOP that specify a pressure-relief mechanism that would be activated before the rating of the pressure vessel is reached. (If the text in red does not apply, please delete it).

- Personal protective equipment (PPE):

Wear PPE that will provide protection if the container fails. Minimum PPE would be safety glasses, lab coat, and standard laboratory gloves. A full face shield is recommended if work is not done inside a chemical fume hood.

- Transportation and Storage:

Plan ahead if it is necessary to transport containers under pressure or vacuum. Use a safety cart and/or secondary containment.

- Waste Disposal:

When using the building vacuum, use a trap to capture any hazardous materials so that they do not enter the vacuum system. Any trapped chemicals must be disposed of following your laboratory-specific chemical hygiene plan and the requirements of Duke University’s Chemical Waste Policy and the Laboratory Chemical Waste Management Practices.

- Occupational injuries:

As with any work-related injury, complete the work-related injury or illness report found at: http://www.hr.duke.edu/benefits/medical/workcomp/report.php. If medical attention is needed, see http://www.hr.duke.edu/benefits/medical/workcomp/medical.php.

- Emergency Procedures:

In case of an emergency, contact Duke Police by calling 911 from a campus phone or 919-684-2444 from any phone.

- Training of personnel:

All personnel are required to complete the online General Lab Safety session thru the OESO website. This session includes an introduction to general chemical safety. Furthermore, all personnel shall read and adhere to this SOP.

“I have read and understand this SOP. I agree to fully adhere to its requirements.”

| Last | First | Duke ID | Signature | Date |
| --- | --- | --- | --- | --- |