|  | Date Submitted: ___________ |
| --- | --- |
| CLASS 3b & 4 LASER LAB PRE-OPERATIONAL CHECKLIST |
| Principal Laser User (PLU): |
| Lab Location (Building/Room): |
| Target Date for Beginning Laser Operation: |
| Checklist (PLU Check each item upon completion) |
| [ ] | All Class 3b & 4 Lasers registered with OESO – Radiation Safety Division |
|  | List DLS Inventory Numbers: |
| [ ] | Adequate Laser Protective Eyewear Available |
|  | List Laser Protective Eyewear: |
|  | Manufacturer & Model (if specified) | Marked wavelength/OD | No. pairs |
| [ ] | Draft Written Laser Safety Procedures provided to OESO-Radiation Safety |
| [ ] | ANSI-Spec warning signs posted at each lab entrance |
| [ ] | PLU designated laser operators have completed OESO Laser Safety Training |
|  | List names of known laser operators below: |
| ENTRYWAY CONTROLS - Complete if laser to operate with beam unenclosed |
| [ ] | Lighted “Laser On” indicator outside lab entrances, tied directly to laser operation |
| [ ] | Barrier, screen, or curtained enclosure (non-combustible for Class 4) inside each entrance to laser lab |
| [ ] | Provisions for preventing accidental laser exposure in case of inadvertent or unauthorized entry |

PLU Signature: ___________________________________________

Forward completed form to Radiation Safety by fax (668-2783) or DUMC Box 3155