|  |  | Date Submitted: ___________ |  |  |
| --- | --- | --- | --- | --- |
| CLASS 3b & 4 LASER LAB PRE-OPERATIONAL CHECKLIST |  |  |  |  |
| Principal Laser User (PLU): |  |  |  |  |
| Lab Location (Building/Room): |  |  |  |  |
| Target Date for Beginning Laser Operation: |  |  |  |  |
| Checklist (PLU Check each item upon completion) |  |  |  |  |
| [ ] | All Class 3b & 4 Lasers registered with OESO – Radiation Safety Division |  |  |  |
|  | List DLS Inventory Numbers: |  |  |  |
| [ ] | Adequate Laser Protective Eyewear Available |  |  |  |
|  | List Laser Protective Eyewear: |  |  |  |
|  | Manufacturer & Model (if specified) |  | Marked wavelength/OD | No. pairs |
| [ ] | Draft Written Laser Safety Procedures provided to OESO-Radiation Safety |  |  |  |
| [ ] | ANSI-Spec warning signs posted at each lab entrance |  |  |  |
| [ ] | PLU designated laser operators have completed OESO Laser Safety Training |  |  |  |
|  | List names of known laser operators below: |  |  |  |
| ENTRYWAY CONTROLS - Complete if laser to operate with beam unenclosed |  |  |  |  |
| [ ] | Lighted “Laser On” indicator outside lab entrances, tied directly to laser operation |  |  |  |
| [ ] | Barrier, screen, or curtained enclosure (non-combustible for Class 4) inside each entrance to laser lab |  |  |  |
| [ ] | Provisions for preventing accidental laser exposure in case of inadvertent or unauthorized entry |  |  |  |

PLU Signature: ___________________________________________

Forward completed form to Radiation Safety by fax (668-2783) or DUMC Box 3155